## Plate 1 - Sheet1
Software Version | 3.03.14
Experiment File Path: | C:\Users\barottlab\Desktop\Teegan\KBayBleach19\Total Protein\2020-02-24.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Bradford Protein Assay (595nm).prt
Plate Number | Plate 1
Date | 2020-02-24
Time | 13:31
Reader Type: | ELx808
Reader Serial Number: | Unknown
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Plate In
Set Temperature | Setpoint 25°C
Preheat before moving to next step
Read | Absorbance Endpoint
Full Plate
Wavelengths: 595
Read Speed: Normal
Plate Out
Results
Actual Temperature: | 25
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1.426 | 1.308 | 0.981 | 0.936 | 0.774 | 0.632 | 0.494 | 0.405 | 0.366 | 0.524 | 0.514 | 0.519 | 595
| B | 1.34 | 1.168 | 0.936 | 0.967 | 0.903 | 0.596 | 0.489 | 0.4 | 0.371 | 0.458 | 0.48 | 0.484 | 595
| C | 1.422 | 1.138 | 0.88 | 0.909 | 0.786 | 0.603 | 0.509 | 0.395 | 0.371 | 0.463 | 0.467 | 0.466 | 595
| D | 0.466 | 0.462 | 0.469 | 0.474 | 0.469 | 0.488 | 0.457 | 0.473 | 0.478 | 0.461 | 0.498 | 0.493 | 595
| E | 0.533 | 0.53 | 0.486 | 0.445 | 0.459 | 0.441 | 0.449 | 0.454 | 0.439 | 0.454 | 0.463 | 0.469 | 595
| F | 0.489 | 0.483 | 0.482 | 0.45 | 0.451 | 0.458 | 0.441 | 0.456 | 0.452 | 0.432 | 0.432 | 0.438 | 595
| G | 0.428 | 0.437 | 0.418 | 0.434 | 0.439 | 0.436 | 0.428 | 0.427 | 0.43 | 0.043 | 0.042 | 0.042 | 595
| H | 0.036 | 0.037 | 0.036 | 0.036 | 0.036 | 0.037 | 0.044 | 0.042 | 0.044 | 0.042 | 0.042 | 0.042 | 595
Averages | Sample | 1: Average; 2: Standard Deviation; 3: Concentration (µg/mL); 4: Concentration (mg/mL); 5: Concentration * 2 (dilution)
| A | 1: 1.396; 2: 0.048539; 3: 2000; 4: 2
| B | 1: 1.2047; 2: 0.090738; 3: 1500; 4: 1.5
| C | 1: 0.93233; 2: 0.0506; 3: 1000; 4: 1
| D | 1: 0.93733; 2: 0.029023; 3: 750; 4: 0.75
| E | 1: 0.821; 2: 0.071267; 3: 500; 4: 0.5
| F | 1: 0.61033; 2: 0.019088; 3: 250; 4: 0.25
| G | 1: 0.49733; 2: 0.010408; 3: 125; 4: 0.125
| H | 1: 0.4; 2: 0.005; 3: 25; 4: 0.025
| I | 1: 0.36933; 2: 0.0028868; 3: 0; 4: 0
| 43.10/2 | 1: 0.519; 2: 0.005; 3: 147.1652; 4: 0.14717; 5: 0.29433
| 204.9/16 | 1: 0.474; 2: 0.014; 3: 99.8533; 4: 0.099853; 5: 0.19971
| 4.10/16 | 1: 0.46533; 2: 0.0020817; 3: 91.0041; 4: 0.091004; 5: 0.18201
| 218.9/16 | 1: 0.491; 2: 0.0035119; 3: 117.4578; 4: 0.11746; 5: 0.23492
| 240.10/16 | 1: 0.477; 2: 0.0098489; 3: 102.9362; 4: 0.10294; 5: 0.20587
| 237.10/2 | 1: 0.46933; 2: 0.01097; 3: 95.0778; 4: 0.095078; 5: 0.19016
| 229.10/2 | 1: 0.484; 2: 0.020075; 3: 110.1693; 4: 0.11017; 5: 0.22034
| 237.9/16 | 1: 0.51633; 2: 0.026312; 3: 144.2978; 4: 0.1443; 5: 0.2886
| 202.10/16 | 1: 0.44833; 2: 0.0094516; 3: 73.8926; 4: 0.073893; 5: 0.14779
| 43.10/2.host | 1: 0.44733; 2: 0.0076376; 3: 72.8962; 4: 0.072896; 5: 0.14579
| 204.9/16.host | 1: 0.462; 2: 0.0075498; 3: 87.6232; 4: 0.087623; 5: 0.17525
| 4.10/16.host | 1: 0.48467; 2: 0.0037859; 3: 110.8611; 4: 0.11086; 5: 0.22172
| 218.9/16.host | 1: 0.453; 2: 0.0043589; 3: 78.5574; 4: 0.078557; 5: 0.15711
| 240.10/16.host | 1: 0.44967; 2: 0.0077675; 3: 75.2229; 4: 0.075223; 5: 0.15045
| 237.10/2.host | 1: 0.434; 2: 0.0034641; 3: 59.7189; 4: 0.059719; 5: 0.11944
| 229.10/2.host | 1: 0.42767; 2: 0.00057735; 3: 53.5301; 4: 0.05353; 5: 0.10706
| 237.9/16.host | 1: 0.43633; 2: 0; 3: 62.0104; 4: 0.06201; 5: 0.12402
| 202.10/16.host | 1: 0.42833; 2: #DIV/0!; 3: 54.1794; 4: 0.054179; 5: 0.10836