## Plate 1 - Sheet1
Software Version | 3.03.14
Experiment File Path: | C:\Users\barottlab\Desktop\Teegan\KBayBleach19\Total Protein\2020-03-04.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Bradford Protein Assay (595nm).prt
Plate Number | Plate 1
Date | 2020-03-04
Time | 15:17
Reader Type: | ELx808
Reader Serial Number: | Unknown
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Plate In
Set Temperature | Setpoint 25°C
Preheat before moving to next step
Read | Absorbance Endpoint
Full Plate
Wavelengths: 595
Read Speed: Normal
Plate Out
Results
Actual Temperature: | 24.9
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1.422 | 1.185 | 1.141 | 0.883 | 0.767 | 0.565 | 0.433 | 0.367 | 0.355 | 0.379 | 0.377 | 0.376 | 595
| B | 1.223 | 1.196 | 1.066 | 0.894 | 0.823 | 0.552 | 0.439 | 0.336 | 0.342 | 0.368 | 0.385 | 0.388 | 595
| C | 1.161 | 1.228 | 1.229 | 0.981 | 0.779 | 0.52 | 0.437 | 0.335 | 0.333 | 0.385 | 0.4 | 0.396 | 595
| D | 0.39 | 0.406 | 0.413 | 0.385 | 0.392 | 0.379 | 0.396 | 0.381 | 0.39 | 0.377 | 0.41 | 0.368 | 595
| E | 0.043 | 0.041 | 0.042 | 0.042 | 0.042 | 0.045 | 0.042 | 0.042 | 0.042 | 0.042 | 0.042 | 0.041 | 595
| F | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.042 | 0.041 | 0.041 | 595
| G | 0.041 | 0.042 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 595
| H | 0.055 | 0.042 | 0.042 | 0.042 | 0.042 | 0.042 | 0.042 | 0.042 | 0.042 | 0.042 | 0.043 | 0.042 | 595
Averages | Sample | 1: Average; 2: Standard Deviation; 3: Concentration (µg/mL); 4: Concentration (mg/mL); 5: Concentration * 2 (dilution)
| A | 1: 1.2687; 2: 0.13636; 3: 2000; 4: 2
| B | 1: 1.203; 2: 0.022338; 3: 1500; 4: 1.5
| C | 1: 1.1453; 2: 0.081586; 3: 1000; 4: 1
| D | 1: 0.91933; 2: 0.053687; 3: 750; 4: 0.75
| E | 1: 0.78967; 2: 0.029484; 3: 500; 4: 0.5
| F | 1: 0.54567; 2: 0.023159; 3: 250; 4: 0.25
| G | 1: 0.43633; 2: 0.0030551; 3: 125; 4: 0.125
| H | 1: 0.346; 2: 0.018193; 3: 25; 4: 0.025
| I | 1: 0.34333; 2: 0.01106; 3: 0; 4: 0
|  | 0.37733 | 0.0015275 | 53.5793 | 0.053579 | 0.10716
|  | 0.38033 | 0.010786 | 57.3219 | 0.057322 | 0.11464
|  | 0.39367 | 0.0077675 | 73.8479 | 0.073848 | 0.1477
|  | 0.2225 | 0.01179 | -151.63 | -0.15163 | -0.30326
|  | 0.38533 | 0.0065064 | 63.5397 | 0.06354 | 0.12708
|  | 0.389 | 0.0075498 | 68.0838 | 0.068084 | 0.13617
|  | 0.385 | 0.022113 | 63.1259 | 0.063126 | 0.12625