## Plate 1 - Sheet1
Software Version | 3.03.14
Experiment File Path: | C:\Users\barottlab\Desktop\Teegan\KBayBleach19\Total Protein\2020-09-11.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Bradford Protein Assay (595nm).prt
Plate Number | Plate 1
Date | 2020-09-11
Time | 11:10
Reader Type: | ELx808
Reader Serial Number: | Unknown
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Plate In
Set Temperature | Setpoint 25°C
Preheat before moving to next step
Read | Absorbance Endpoint
Full Plate
Wavelengths: 595
Read Speed: Normal
Plate Out
Results
Actual Temperature: | 24.7
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1.15 | 1.537 | 0.891 | 1.124 | 0.944 | 0.707 | 0.781 | 0.401 | 0.353 | 0.437 | 0.42 | 0.435 | 595
| B | 1.239 | 0.929 | 0.807 | 0.996 | 0.933 | 0.697 | 0.518 | 0.42 | 0.362 | 0.412 | 0.438 | 0.425 | 595
| C | 1.063 | 0.902 | 0.655 | 0.885 | 0.838 | 0.664 | 0.516 | 0.392 | 0.364 | 0.443 | 0.44 | 0.44 | 595
| D | 0.415 | 0.417 | 0.415 | 0.393 | 0.391 | 0.402 | 0.404 | 0.399 | 0.407 | 0.436 | 0.444 | 0.407 | 595
| E | 0.393 | 0.392 | 0.393 | 0.389 | 0.384 | 0.382 | 0.425 | 0.431 | 0.426 | 0.042 | 0.042 | 0.042 | 595
| F | 0.042 | 0.041 | 0.042 | 0.041 | 0.042 | 0.041 | 0.041 | 0.043 | 0.041 | 0.041 | 0.041 | 0.041 | 595
| G | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.044 | 0.042 | 0.041 | 0.041 | 595
| H | 0.042 | 0.042 | 0.043 | 0.045 | 0.042 | 0.042 | 0.042 | 0.043 | 0.042 | 0.042 | 0.042 | 0.042 | 595
Averages | Sample | 1: Average; 2: Standard Deviation; 3: Concentration (µg/mL); 4: Concentration (mg/mL); 5: Concentration * 2 (Dilution)
| A | 1: 1.1507; 2: 0.088002; 3: 2000; 4: 2
| B | 1: 1.1227; 2: 0.35908; 3: 1500; 4: 1.5
| C | 1: 0.78433; 2: 0.11962; 3: 1000; 4: 1
| D | 1: 1.0017; 2: 0.1196; 3: 750; 4: 0.75
| E | 1: 0.905; 2: 0.058284; 3: 500; 4: 0.5
| F | 1: 0.68933; 2: 0.022502; 3: 250; 4: 0.25
| G | 1: 0.605; 2: 0.15242; 3: 125; 4: 0.125
| H | 1: 0.40433; 2: 0.014295; 3: 25; 4: 0.025
| I | 1: 0.35967; 2: 0.0058595; 3: 0; 4: 0
| 4.9/16.host | 1: 0.43067; 2: 0.0092916; 3: 15.3137; 4: 0.015314; 5: 0.030627
| 27.10/2.host | 1: 0.425; 2: 0.013; 3: 13.9888; 4: 0.013989; 5: 0.027978
| 244.10/16.host | 1: 0.441; 2: 0.0017321; 3: 18.1397; 4: 0.01814; 5: 0.036279
| 218.10/16.host | 1: 0.41567; 2: 0.0011547; 3: 12.1536; 4: 0.012154; 5: 0.024307
| 46.9/16.host | 1: 0.39533; 2: 0.0058595; 3: 9.6508; 4: 0.0096508; 5: 0.019302
| 219.9/16.host | 1: 0.40333; 2: 0.0040415; 3: 10.3909; 4: 0.010391; 5: 0.020782
| 20.10/2.host | 1: 0.429; 2: 0.019468; 3: 14.9075; 4: 0.014908; 5: 0.029815
| 203.10/16.host | 1: 0.39267; 2: 0.00057735; 3: 9.4746; 4: 0.0094746; 5: 0.018949
| 217.9/16.host | 1: 0.385; 2: 0.0036056; 3: 9.1645; 4: 0.0091645; 5: 0.018329
| 12.10/16.host | 1: 0.42733; 2: 0.0032146; 3: 14.5151; 4: 0.014515; 5: 0.02903