## Plate 1 - Sheet1
Software Version | 3.03.14
Experiment File Path: | C:\Users\barottlab\Desktop\Teegan\KBayBleach19\Total Protein\2020-09-12.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Bradford Protein Assay (595nm).prt
Plate Number | Plate 1
Date | 2020-09-12
Time | 11:12
Reader Type: | ELx808
Reader Serial Number: | Unknown
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Plate In
Set Temperature | Setpoint 25°C
Preheat before moving to next step
Read | Absorbance Endpoint
Full Plate
Wavelengths: 595
Read Speed: Normal
Plate Out
Results
Actual Temperature: | 24.4
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1.023 | 1.416 | 0.785 | 0.783 | 0.82 | 0.585 | 0.484 | 0.375 | 0.366 | 0.404 | 0.396 | 0.4 | 595
| B | 0.959 | 1.187 | 0.713 | 0.87 | 0.756 | 0.57 | 0.476 | 0.385 | 0.364 | 0.442 | 0.438 | 0.424 | 595
| C | 1.235 | 1.212 | 0.86 | 0.886 | 0.756 | 0.615 | 0.477 | 0.39 | 0.362 | 0.392 | 0.391 | 0.377 | 595
| D | 0.408 | 0.402 | 0.408 | 0.446 | 0.452 | 0.449 | 0.442 | 0.437 | 0.444 | 0.419 | 0.423 | 0.421 | 595
| E | 0.516 | 0.518 | 0.496 | 0.436 | 0.427 | 0.534 | 0.42 | 0.425 | 0.431 | 0.426 | 0.43 | 0.431 | 595
| F | 0.582 | 0.424 | 0.426 | 0.417 | 0.432 | 0.423 | 0.426 | 0.426 | 0.427 | 0.407 | 0.402 | 0.411 | 595
| G | 0.057 | 0.042 | 0.042 | 0.043 | 0.042 | 0.044 | 0.042 | 0.042 | 0.042 | 0.042 | 0.042 | 0.042 | 595
| H | 0.042 | 0.042 | 0.043 | 0.042 | 0.042 | 0.042 | 0.042 | 0.042 | 0.042 | 0.042 | 0.042 | 0.042 | 595
Averages | Sample | 1: Average; 2: Standard Deviation; 3: Concentration (µg/mL); 4: Concentration (mg/mL); 5: Concentration * 2 (dilution)
| A | 1: 1.0723; 2: 0.14446; 3: 2000; 4: 2
| B | 1: 1.2717; 2: 0.12562; 3: 1500; 4: 1.5
| C | 1: 0.786; 2: 0.073505; 3: 1000; 4: 1
| D | 1: 0.84633; 2: 0.055429; 3: 750; 4: 0.75
| E | 1: 0.77733; 2: 0.03695; 3: 500; 4: 0.5
| F | 1: 0.59; 2: 0.022913; 3: 250; 4: 0.25
| G | 1: 0.479; 2: 0.0043589; 3: 125; 4: 0.125
| H | 1: 0.38333; 2: 0.0076376; 3: 25; 4: 0.025
| I | 1: 0.364; 2: 0.002; 3: 0; 4: 0
| 12.9/16.host | 1: 0.4; 2: 0.004; 3: 40.214; 4: 0.040214; 5: 0.080428
| 41.9/16.host | 1: 0.43467; 2: 0.0094516; 3: 77.4983; 4: 0.077498; 5: 0.155
| 44.9/16.host | 1: 0.38667; 2: 0.0083865; 3: 25.9878; 4: 0.025988; 5: 0.051976
| 203.9/16.host | 1: 0.458; 2: 0.0034641; 3: 102.8343; 4: 0.10283; 5: 0.20567
| 209.9/16.host | 1: 0.449; 2: 0.003; 3: 93.0389; 4: 0.093039; 5: 0.18608
| 212.9/16.host | 1: 0.441; 2: 0.0036056; 3: 84.3561; 4: 0.084356; 5: 0.16871
| 3.10/2.host | 1: 0.421; 2: 0.002; 3: 62.7486; 4: 0.062749; 5: 0.1255
| 4.10/2.host | 1: 0.51; 2: 0.012166; 3: 159.9946; 4: 0.15999; 5: 0.31999
| 36.10/2.host | 1: 0.46567; 2: 0.059349; 3: 111.2013; 4: 0.1112; 5: 0.2224
| 202.10/2.host | 1: 0.42533; 2: 0.0055076; 3: 67.4182; 4: 0.067418; 5: 0.13484
| 218.10/2.host | 1: 0.429; 2: 0.0026458; 3: 71.3745; 4: 0.071375; 5: 0.14275
| 219.10/2.host | 1: 0.47733; 2: 0.09065; 3: 123.9738; 4: 0.12397; 5: 0.24795
| 243.10/2.host | 1: 0.424; 2: 0.0075498; 3: 65.9807; 4: 0.065981; 5: 0.13196
| 19.10/16.host | 1: 0.42633; 2: 0.00057735; 3: 68.4967; 4: 0.068497; 5: 0.13699
| 46.10/16.host | 1: 0.40667; 2: 0.0045092; 3: 47.3508; 4: 0.047351; 5: 0.094702