## Plate 1 - Sheet1
Software Version | 3.03.14
Experiment File Path: | C:\Users\barottlab\Desktop\Teegan\KBayBleach19\Total Protein\2020-09-20.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Bradford Protein Assay (595nm).prt
Plate Number | Plate 1
Date | 2020-09-20
Time | 12:50
Reader Type: | ELx808
Reader Serial Number: | Unknown
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Plate In
Set Temperature | Setpoint 25°C
Preheat before moving to next step
Read | Absorbance Endpoint
Full Plate
Wavelengths: 595
Read Speed: Normal
Plate Out
Results
Actual Temperature: | 24.9
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1.398 | 1.45 | 0.912 | 0.984 | 0.823 | 0.63 | 0.495 | 0.381 | 0.363 | 0.497 | 0.513 | 0.513 | 595
| B | 1.743 | 1.297 | 0.914 | 0.991 | 0.749 | 0.617 | 0.478 | 0.381 | 0.367 | 0.446 | 0.457 | 0.459 | 595
| C | 1.554 | 1.341 | 0.983 | 0.925 | 0.896 | 0.627 | 0.483 | 0.381 | 0.367 | 0.428 | 0.418 | 0.445 | 595
| D | 0.493 | 0.476 | 0.459 | 0.489 | 0.476 | 0.469 | 0.472 | 0.484 | 0.494 | 0.457 | 0.471 | 0.47 | 595
| E | 0.474 | 0.464 | 0.44 | 0.445 | 0.455 | 0.434 | 0.431 | 0.441 | 0.429 | 0.491 | 0.465 | 0.504 | 595
| F | 0.459 | 0.465 | 0.472 | 0.479 | 0.469 | 0.455 | 0.482 | 0.504 | 0.495 | 0.499 | 0.47 | 0.5 | 595
| G | 0.507 | 0.512 | 0.494 | 0.513 | 0.477 | 0.497 | 0.536 | 0.492 | 0.5 | 0.525 | 0.505 | 0.531 | 595
| H | 0.495 | 0.485 | 0.487 | 0.446 | 0.443 | 0.444 | 0.444 | 0.443 | 0.464 | 0.463 | 0.413 | 0.445 | 595
Averages | Sample | 1: Average; 2: Standard Deviation; 3: Concentration (µg/mL); 4: Concentration (mg/mL); 5: Concentration * 2 (Dilution)
| A | 1: 1.565; 2: 0.17276; 3: 2000; 4: 2
| B | 1: 1.3627; 2: 0.078768; 3: 1500; 4: 1.5
| C | 1: 0.93633; 2: 0.040427; 3: 1000; 4: 1
| D | 1: 0.96667; 2: 0.036254; 3: 750; 4: 0.75
| E | 1: 0.82267; 2: 0.073501; 3: 500; 4: 0.5
| F | 1: 0.62467; 2: 0.0068069; 3: 250; 4: 0.25
| G | 1: 0.48533; 2: 0.0087369; 3: 125; 4: 0.125
| H | 1: 0.381; 2: 0; 3: 25; 4: 0.025
| I | 1: 0.36567; 2: 0.0023094; 3: 0; 4: 0
| 46.10/2 | 1: 0.50767; 2: 0.0092376; 3: 147.2196; 4: 0.14722; 5: 0.29444
| 219.10/16 | 1: 0.454; 2: 0.007; 3: 95.4659; 4: 0.095466; 5: 0.19093
| 201.9/16 | 1: 0.43033; 2: 0.01365; 3: 71.702; 4: 0.071702; 5: 0.1434
| 43.10/16 | 1: 0.476; 2: 0.017; 3: 117.0398; 4: 0.11704; 5: 0.23408
| 42.9/16 | 1: 0.478; 2: 0.010149; 3: 118.9764; 4: 0.11898; 5: 0.23795
| 19.9/16 | 1: 0.48333; 2: 0.011015; 3: 124.1205; 4: 0.12412; 5: 0.24824
| 36.10/16 | 1: 0.466; 2: 0.0078102; 3: 107.2952; 4: 0.1073; 5: 0.21459
| 229.9/16 | 1: 0.45933; 2: 0.017474; 3: 100.7416; 4: 0.10074; 5: 0.20148
| 26.10/2 | 1: 0.44467; 2: 0.010504; 3: 86.163; 4: 0.086163; 5: 0.17233
| 11.10/16 | 1: 0.43367; 2: 0.0064291; 3: 75.0838; 4: 0.075084; 5: 0.15017
| 204.10/2 | 1: 0.48667; 2: 0.019858; 3: 127.3208; 4: 0.12732; 5: 0.25464
| 11.10/2 | 1: 0.46533; 2: 0.0065064; 3: 106.6419; 4: 0.10664; 5: 0.21328
| 239.10/16 | 1: 0.46767; 2: 0.012055; 3: 108.9264; 4: 0.10893; 5: 0.21785
| 221.10/16 | 1: 0.49367; 2: 0.01106; 3: 134.0041; 4: 0.134; 5: 0.26801
| 42.10/2 | 1: 0.48967; 2: 0.017039; 3: 130.1912; 4: 0.13019; 5: 0.26038
| 211.9/16 | 1: 0.50433; 2: 0.0092916; 3: 144.0913; 4: 0.14409; 5: 0.28818
| 248.9/16 | 1: 0.49567; 2: 0.018037; 3: 135.9044; 4: 0.1359; 5: 0.27181
| 12.10/2 | 1: 0.50933; 2: 0.023438; 3: 148.7795; 4: 0.14878; 5: 0.29756
| 211.10/2 | 1: 0.52033; 2: 0.013614; 3: 159.0029; 4: 0.159; 5: 0.31801
| 45.10/16 | 1: 0.489; 2: 0.0052915; 3: 129.5541; 4: 0.12955; 5: 0.25911
| 12.9/16 | 1: 0.44433; 2: 0.0015275; 3: 85.8291; 4: 0.085829; 5: 0.17166
| 237.10/16.host | 1: 0.4435; 2: 0.00070711; 3: 84.9938; 4: 0.084994; 5: 0.16999
| 230.10/16.host | 1: 0.4635; 2: 0.00070711; 3: 104.8429; 4: 0.10484; 5: 0.20969
| 220.9/16.host | 1: 0.429; 2: 0.022627; 3: 70.346; 4: 0.070346; 5: 0.14069