## Plate 1 - Sheet1
Software Version | 3.03.14
Experiment File Path: | C:\Users\barottlab\Desktop\Teegan\KBayBleach19\Total Protein\2020-09-29-1.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Bradford Protein Assay (595nm).prt
Plate Number | Plate 1
Date | 2020-09-29
Time | 12:16
Reader Type: | ELx808
Reader Serial Number: | Unknown
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Plate In
Set Temperature | Setpoint 25°C
Preheat before moving to next step
Read | Absorbance Endpoint
Full Plate
Wavelengths: 595
Read Speed: Normal
Plate Out
Results
Actual Temperature: | 24.9
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1.399 | 1.361 | 1.153 | 1.064 | 0.885 | 0.621 | 0.501 | 0.401 | 0.377 | 0.458 | 0.468 | 0.489 | 595
| B | 1.538 | 1.379 | 1.164 | 1.07 | 0.844 | 0.621 | 0.499 | 0.406 | 0.377 | 0.474 | 0.478 | 0.488 | 595
| C | 1.413 | 1.358 | 1.153 | 1.073 | 0.885 | 0.614 | 0.504 | 0.401 | 0.376 | 0.459 | 0.465 | 0.47 | 595
| D | 0.462 | 0.483 | 0.469 | 0.468 | 0.47 | 0.471 | 0.459 | 0.466 | 0.454 | 0.465 | 0.487 | 0.475 | 595
| E | 0.512 | 0.467 | 0.447 | 0.439 | 0.439 | 0.456 | 0.515 | 0.524 | 0.516 | 0.495 | 0.495 | 0.505 | 595
| F | 0.505 | 0.522 | 0.5 | 0.488 | 0.475 | 0.486 | 0.456 | 0.451 | 0.439 | 0.473 | 0.5 | 0.498 | 595
| G | 0.522 | 0.53 | 0.521 | 0.52 | 0.509 | 0.522 | 0.533 | 0.528 | 0.525 | 0.48 | 0.468 | 0.473 | 595
| H | 0.459 | 0.467 | 0.454 | 0.522 | 0.482 | 0.578 | 0.487 | 0.491 | 0.509 | 0.383 | 0.374 | 0.378 | 595
Averages | Sample | 1: Average; 2: Standard Deviation; 3: Concentration (µg/mL); 4: Concentration (mg/mL); 5: Concentration * 2 (Dilution)
| A | 1: 1.45; 2: 0.076531; 3: 2000; 4: 2
| B | 1: 1.366; 2: 0.011358; 3: 1500; 4: 1.5
| C | 1: 1.1567; 2: 0.0063509; 3: 1000; 4: 1
| D | 1: 1.069; 2: 0.0045826; 3: 750; 4: 0.75
| E | 1: 0.87133; 2: 0.023671; 3: 500; 4: 0.5
| F | 1: 0.61867; 2: 0.0040415; 3: 250; 4: 0.25
| G | 1: 0.50133; 2: 0.0025166; 3: 125; 4: 0.125
| H | 1: 0.40267; 2: 0.0028868; 3: 25; 4: 0.025
| I | 1: 0.37667; 2: 0.00057735; 3: 0; 4: 0
| 217.10/30 | 1: 0.47167; 2: 0.015822; 3: 94.4043; 4: 0.094404; 5: 0.18881
| 219.10/30 | 1: 0.48; 2: 0.0072111; 3: 102.9251; 4: 0.10293; 5: 0.20585
| 44.10/30 | 1: 0.46467; 2: 0.0055076; 3: 87.2748; 4: 0.087275; 5: 0.17455
| 201.10/30 | 1: 0.47133; 2: 0.010693; 3: 94.0642; 4: 0.094064; 5: 0.18813
| 222.10/30 | 1: 0.46967; 2: 0.0015275; 3: 92.3647; 4: 0.092365; 5: 0.18473
| 204.10/30 | 1: 0.45967; 2: 0.0060277; 3: 82.1979; 4: 0.082198; 5: 0.1644
| 203.10/30 | 1: 0.47567; 2: 0.011015; 3: 98.4898; 4: 0.09849; 5: 0.19698
| 12.10/30 | 1: 0.47533; 2: 0.033292; 3: 98.149; 4: 0.098149; 5: 0.1963
| 212.10/30 | 1: 0.44467; 2: 0.009815; 3: 67.0455; 4: 0.067045; 5: 0.13409
| 42.10/30 | 1: 0.51833; 2: 0.0049329; 3: 142.5865; 4: 0.14259; 5: 0.28517
| 230.10/30 | 1: 0.49833; 2: 0.0057735; 3: 121.7981; 4: 0.1218; 5: 0.2436
| 46.10/30 | 1: 0.509; 2: 0.011533; 3: 132.8593; 4: 0.13286; 5: 0.26572
| 19.10/30 | 1: 0.483; 2: 0.007; 3: 106.0014; 4: 0.106; 5: 0.212
| 202.10/30 | 1: 0.44867; 2: 0.0087369; 3: 71.0747; 4: 0.071075; 5: 0.14215
| 3.10/30 | 1: 0.49033; 2: 0.015044; 3: 113.5411; 4: 0.11354; 5: 0.22708
| 43.10/30 | 1: 0.52433; 2: 0.0049329; 3: 148.8637; 4: 0.14886; 5: 0.29773
| 41.10/30 | 1: 0.517; 2: 0.007; 3: 141.1941; 4: 0.14119; 5: 0.28239
| 244.10/30 | 1: 0.52867; 2: 0.0040415; 3: 153.4088; 4: 0.15341; 5: 0.30682
| 43.9/16 | 1: 0.47367; 2: 0.0060277; 3: 96.446; 4: 0.096446; 5: 0.19289
| 3.10/16 | 1: 0.46; 2: 0.0065574; 3: 82.536; 4: 0.082536; 5: 0.16507
| 45.9/16 | 1: 0.52733; 2: 0.048222; 3: 152.0093; 4: 0.15201; 5: 0.30402
| 42.10/16 | 1: 0.49567; 2: 0.011719; 3: 119.042; 4: 0.11904; 5: 0.23808