## Plate 2 - Sheet1
Software Version | 3.03.14
Experiment File Path: | C:\Users\barottlab\Desktop\Teegan\KBayBleach19\Total Protein\2020-09-29-1.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Bradford Protein Assay (595nm).prt
Plate Number | Plate 2
Date | 2020-09-29
Time | 12:19
Reader Type: | ELx808
Reader Serial Number: | Unknown
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Plate In
Set Temperature | Setpoint 25°C
Preheat before moving to next step
Read | Absorbance Endpoint
Full Plate
Wavelengths: 595
Read Speed: Normal
Plate Out
Results
Actual Temperature: | 25
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1.278 | 1.161 | 1.008 | 0.94 | 0.821 | 0.609 | 0.505 | 0.4 | 0.385 | 0.418 | 0.403 | 0.412 | 595
| B | 1.502 | 1.149 | 1.015 | 0.98 | 0.842 | 0.624 | 0.498 | 0.412 | 0.38 | 0.411 | 0.442 | 0.436 | 595
| C | 1.266 | 1.057 | 0.956 | 0.912 | 0.823 | 0.612 | 0.504 | 0.404 | 0.392 | 0.407 | 0.403 | 0.434 | 595
| D | 0.428 | 0.417 | 0.427 | 0.423 | 0.42 | 0.425 | 0.417 | 0.424 | 0.387 | 0.405 | 0.444 | 0.427 | 595
| E | 0.043 | 0.042 | 0.043 | 0.042 | 0.042 | 0.042 | 0.043 | 0.042 | 0.041 | 0.042 | 0.042 | 0.042 | 595
| F | 0.041 | 0.042 | 0.042 | 0.041 | 0.042 | 0.042 | 0.042 | 0.042 | 0.041 | 0.041 | 0.041 | 0.041 | 595
| G | 0.046 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.047 | 595
| H | 0.042 | 0.042 | 0.042 | 0.042 | 0.042 | 0.042 | 0.043 | 0.042 | 0.042 | 0.043 | 0.042 | 0.042 | 595
Averages | Sample | 1: Average; 2: Standard Deviation; 3: Concentration (µg/mL); 4: Concentration (mg/mL); 5: Concentration * 2 (Dilution)
| A | 1: 1.3487; 2: 0.13293; 3: 2000; 4: 2
| B | 1: 1.1223; 2: 0.056898; 3: 1500; 4: 1.5
| C | 1: 0.993; 2: 0.032234; 3: 1000; 4: 1
| D | 1: 0.944; 2: 0.034176; 3: 750; 4: 0.75
| E | 1: 0.82867; 2: 0.01159; 3: 500; 4: 0.5
| F | 1: 0.615; 2: 0.0079373; 3: 250; 4: 0.25
| G | 1: 0.50233; 2: 0.0037859; 3: 125; 4: 0.125
| H | 1: 0.40533; 2: 0.0061101; 3: 25; 4: 0.025
| I | 1: 0.38567; 2: 0.0060277; 3: 0; 4: 0
| 204.10/16.host | 1: 0.411; 2: 0.0075498; 3: 28.4262; 4: 0.028426; 5: 0.056852
| 36.10/30.host | 1: 0.42967; 2: 0.016442; 3: 48.0957; 4: 0.048096; 5: 0.096191
| 240.10/2.host | 1: 0.41467; 2: 0.016862; 3: 32.2805; 4: 0.032281; 5: 0.064561
| 43.9/16.host | 1: 0.424; 2: 0.0060828; 3: 42.1121; 4: 0.042112; 5: 0.084224
| 3.10/16.host | 1: 0.42267; 2: 0.0025166; 3: 40.7058; 4: 0.040706; 5: 0.081412
| 45.9/16.host | 1: 0.40933; 2: 0.019655; 3: 26.6758; 4: 0.026676; 5: 0.053352
| 42.10/16.host | 1: 0.42533; 2: 0.019553; 3: 43.519; 4: 0.043519; 5: 0.087038